### Drainage Easement (DE) Provisions

Required for surface swales necessary for the stormwater management system to function but does not include basins, pipes, structures or overland flood routes.

It is the owner’s responsibility to include the easement provisions, as necessary, to apply to the specific project.  Should any changes be made to the sample below, track changes must be utilized in a Word document showing the proposed changes for City review and approval.

Drainage Easement (DE):  Each individual entity or other party accepting title to all or any part of the Drainage Easement (DE) shall conclusively be deemed to have covenanted and agreed, jointly and severally, to maintain the surface of that portion of the DE which is located on such party’s property so that it is in good and functional condition for its intended purpose as a storm water drainage facility (which maintenance shall include, but shall not be limited to, the regular seeding, watering and mowing of all lawns and removal of all obstructions).  Except as otherwise expressly permitted by written notice from the City of Crystal Lake,

No titleholder of any part or portion of the DE (or any party acting on behalf of the titleholder) shall:

- Install, construct, erect, place or plant any building, structures, improvements or vegetation (other than grass or City approved plantings) upon the DE, including, but not limited to walls, patios, sheds, posts, trees, plants or shrubbery, except as shown on the approved landscape plan, or

- Alter, modify or change in any way the topography or elevations of the DE, or

- Obstruct, alter or modify the established drainage pattern from or over the DE.

Fences may be constructed on the DE with a permit from the City of Crystal Lake.